## BIDSHEET
WESTWARD CAPTAINS BAY PLANT UTILITY TIE
|  | 2017-04-14 | [7 empty] | Prepared by:
|  | ASSEMBLY UNITS BID SHEET - ISSUED FOR BID | [7 empty] | Electric Power Systems
Project(s): EPS 16-0011 CITY OF UNALASKA TBD
|  |  |  | Adjusted | Unit |  |  |  |  | Total
Status | Assembly | Description | Bid | Const. | of | Labor | Total | Material | Total | Labor &
| Unit |  | Quantity | Quantity | Meas. | (Each) | Labor | (Each) | Material | Material
INSTALL
I | #1/0 AL CONC 35 | 1/0 CONC 35kV AL, 1/3 NEUTRAL, 133% EPR INSULATION (FEET) - OKONITE 135-23-3656 OR EQUAL | 19980 |  | FT |  | 0 |  | 0 | 0
I | #2 CONC 15 | #2 CONC 15kV AL, FULL NEUTRAL, 133% INSULATION (FEET) | 40 |  | FT |  | 0 |  | 0 | 0
I | #14 XHHW-2 CU | #14 XHHW-2 COPPER COND. (FEET) | 120 |  | FT |  | 0 |  | 0 | 0
I | INRDCT | FIBER INNERDUCT, MAXCELL 2" X 3 CELL OR EQUIVALENT | 6935 |  | FT |  | 0 |  | 0 | 0
I | M-BOL | BOLLARD, PROTECITIVE POST ASSEMBLY | 28 |  | EA |  | 0 |  | 0 | 0
I | CAB MARK | FIBERGLASS CABINET MARKER, NORDIC FIBERGLASS FF-1C | 13 |  | EA |  | 0 |  | 0 | 0
I | GLC - 1 | FIBEROPTIC CABLE VAULT - 17" X 17" X 13" | 1 |  | EA |  | 0 |  | 0 | 0
I | GLC - 2 | FIBEROPTIC CABLE VAULT - 24" X 36" X 24" | 3 |  | EA |  | 0 |  | 0 | 0
I | FIBER-12 | FIBER OPTIC CABLE - SINGLE MODE 12 STRAND, LOOSE TUBE, GEL WATER BLOCKED, DUAL JACKET | 505 |  | FT |  | 0 |  | 0 | 0
I | FIBER DOME - 1 | FIBEROPTIC DOME SECTION - 17" TALL | 1 |  | EA |  | 0 |  | 0 | 0
I | FIBER DOME-2 | FIBEROPTIC DOME SECTION - 28" TALL | 1 |  | EA |  | 0 |  | 0 | 0
I | FIBER PTCHPNL | FIBEROPTIC PATCH PANEL, CORNING OPTITECT LS SERIES OR EQUIVALENT | 1 |  | EA |  | 0 |  | 0 | 0
I | FIBER JBOX 3R | FIBEROPTIC JUNCTION BOX, NEMA 3R, 24X24X12 | 2 |  | EA |  | 0 |  | 0 | 0
I | FIBER JBOX 12 | FIBEROPTIC JUNCTION BOX, NEMA 12 | 1 |  | EA |  | 0 |  | 0 | 0
I | VAULT-2 | VAULT, CONCRETE, UTILITY VAULT MODEL 4484-LA W/ SECTIONALIZER LID OR EQUIVALENT | 2 |  | EA |  | 0 |  | 0 | 0
I | VAULT-3 | VAULT, CONCRETE, UTILITY VAULT MODEL 774-LA OR EQUIVALENT | 8 |  | EA |  | 0 |  | 0 | 0
I | UM1-7NC | PADMOUNTED EQUIPMENT GROUND SLEEVE ASSEMBLY | 2 |  | EA |  | 0 |  | 0 | 0
I | ZUM3E-3X-10H | 3PH PAD MOUNTED SWITCH CABINET, PMH-10, 600A, 35KV | 1 |  | EA |  | 0 |  | 0 | 0
I | ZU-VCR | 3PH PAD MOUNTED RECLOSER, 35KV | 1 |  | EA |  | 0 |  | 0 | 0
I | UG7B-2-10-A-SS | 1PH PAD MOUNTED TRANSFORMER LOOP FEED W/ BREAKER (240/120v, 10 kVA, STAINLESS STEEL) | 1 |  | EA |  | 0 |  | 0 | 0
I | ZUG17-2-2000 | 3PH PAD MOUNTED TRANSFORMER LOOP FEED (2000KVA) 19.9/34.5 WYE | 1 |  | EA |  | 0 |  | 0 | 0
I | UM50-H-2 | CONDUIT, 2" HDPE - SCHEDULE 40 (FEET) | 13915 |  | FT |  | 0 |  | 0 | 0
I | UM50-H-6 | CONDUIT, 6" HDPE - SCHEDULE 40 (FEET) | 13050 |  | FT |  | 0 |  | 0 | 0
I | UM50-PH-2 | CONDUIT, 2" PVC - SCHEDULE 80 (FEET) | 20 |  | FT |  | 0 |  | 0 | 0
I | UM50-P-4 | CONDUIT, 4" PVC - SCHEDULE 40 (FEET) | 120 |  | FT |  | 0 |  | 0 | 0
I | UM50-P-5 | CONDUIT, 5" PVC - SCHEDULE 40 (FEET) | 20 |  | FT |  | 0 |  | 0 | 0
I | UM50-S-2 | CONDUIT, 2" GALVANIZED RIGID STEEL (FEET) | 30 |  | FT |  | 0 |  | 0 | 0
I | ASPHALT CUT | ASPHALT CUT AND PATCH WITH GRAVEL | 10 |  | FT |  | 0 |  | 0 | 0
I | ASPHALT REMOVE | REMOVAL OF ASPHALT AND CONCRETE | 70 |  | FT |  | 0 |  | 0 | 0
I | FBR290SS | ELBOW, CONDUIT 2" FIBERGLASS SHORT SWEEP 90° | 2 |  | EA |  | 0 |  | 0 | 0
I | FBR490SS | ELBOW, CONDUIT 4" FIBERGLASS SHORT SWEEP 90° | 4 |  | EA |  | 0 |  | 0 | 0
I | FBR590SS | ELBOW, CONDUIT 5" FIBERGLASS SHORT SWEEP 90° | 2 |  | EA |  | 0 |  | 0 | 0
I | FBR690SS | ELBOW, CONDUIT 6" FIBERGLASS SHORT SWEEP 90° | 6 |  | EA |  | 0 |  | 0 | 0
I | UM6-1 | 15KV LOAD BREAK ELBOW, ELASTIMOLD ONLY (200A) | 2 |  | EA |  | 0 |  | 0 | 0
I | ZUM6-1 | 35KV LOAD BREAK ELBOW, ELASTIMOLD ONLY (200A) | 21 |  | EA |  | 0 |  | 0 | 0
I | ZUM6-3 | 35KV DEAD BREAK ELBOW (600A) | 6 |  | EA |  | 0 |  | 0 | 0
I | ZUM6-28 | 35 KV PRIMARY CONDUCTOR SPLICE | 21 |  | EA |  | 0 |  | 0 | 0
I | UM48-2 | GROUNDING ASSEMBLY FOR PADMOUNTED TRANSFORMERS AND ENCLOSURES | 2 |  | EA |  | 0 |  | 0 | 0
I | UM48-5 | GROUNDING GRID FOR RECLOSER INSTALLATION | 1 |  | EA |  | 0 |  | 0 | 0
I | ZUM6-5 | FEED THROUGH BUSHING, 35KV | 1 |  | EA |  | 0 |  | 0 | 0
I | JACKMOON | JACKMOON TRIPLEX DUCT SEALING PLUG, SIZE AS REQUIRED | 25 |  | EA |  | 0 |  | 0 | 0
I | CONDUIT PLUG | CONDUIT PLUG (6" CONDUIT) | 39 |  | EA |  | 0 |  | 0 | 0
I | SIDEWALK | SIDEWALK, CURB AND GUTTER, CUT AND REPAIR FOR TRENCHING (EACH) | 1 |  | EA |  | 0 |  | 0 | 0
I | URC-GX | CONDUIT CROSSING ASSEMBLY ROAD, PARKING LOT OR DRIVEWAY - GRAVEL | 6910 |  | FT |  | 0 |  | 0 | 0
RETIRE
R | #1/0 CONC 15 | 1/0 CONC 15kV AL, FULL NEUTRAL, 133% INSULATION (FEET) | 17430 |  | FT |  | 0 |  | 0 | 0
R | M-BOL | BOLLARD, PROTECITIVE POST ASSEMBLY | 6 |  | EA |  | 0 |  | 0 | 0
R | VAULT-3 | VAULT, CONCRETE, UTILITY VAULT MODEL 774-LA OR EQUIVALENT | 3 |  | EA |  | 0 |  | 0 | 0
R | UM33X-3 | 3 PH SECTIONALIZING ENCLOSURE, 3-WAY | 2 |  | EA |  | 0 |  | 0 | 0
R | UM50-P-5 | CONDUIT, 5" PVC - SCHEDULE 40 (FEET) | 5685 |  | FT |  | 0 |  | 0 | 0
R | ZUM6-10 | 35KV INSULATED PROTECTIVE CAP, ELASTIMOLD ONLY (200A) | 3 |  | EA |  | 0 |  | 0 | 0
R | ZUM6-10 | INSULATED PROTECTIVE CAP (200A) | 3 |  | EA |  | 0 |  | 0 | 0
|  |  |  | SUB-TOTALS: |  |  | 0 |  | 0 | 0
|  |  |  | TOTAL - BASE BID: | [5 empty] | 0
BID ALTERNATE #1
I | FIBER-36 | FIBER OPTIC CABLE - SINGLE MODE 36 STRAND, LOOSE TUBE, GEL WATER BLOCKED, DUAL JACKET | 7135 |  | FT |  | 0 |  | 0 | 0
SUB-TOTALS:
|  |  |  | TOTAL - BID ALTERNATE #1 |  |  | 0 |  | 0 | 0